## A
Time | Predicted multi-energy load of district A in 3rd stage (unit: kW) |  |  |  | Predicted multi-energy load of district B in 3rd stage (unit: kW) |  |  |  | Predicted multi-energy load of district C in 3rd stage(unit: kW)
| electricity | gas | heat | cooling | Electricity | Gas | heat | cooling | Electricity | Gas | heat | cooling
1 | 1385.16 | 46.6 | 651.8571 | 198 | 2920.4 | 49 | 795.8984 | 238.7077 | 6842.3077 | 502.5773 | 6881.2557 | 238.0206
2 | 1548.36 | 46.6 | 668.5714 | 198 | 3063.0824 | 49 | 795.8984 | 238.7077 | 7982.6923 | 502.5773 | 6881.2557 | 238.0206
3 | 1667.904 | 46.6 | 752.1429 | 198 | 3003.84 | 49 | 795.8984 | 238.7077 | 8552.8846 | 502.5773 | 6881.2557 | 238.0206
4 | 1548.36 | 46.6 | 668.5714 | 198 | 3337.6 | 98 | 795.8984 | 238.7077 | 9123.0769 | 502.5773 | 6881.2557 | 238.0206
5 | 1515.72 | 512.6 | 668.5714 | 198 | 3087.28 | 1176 | 795.8984 | 238.7077 | 10263.4615 | 502.5773 | 6881.2557 | 238.0206
6 | 1864.56 | 820.16 | 835.7143 | 198 | 3182.4016 | 1372 | 795.8984 | 238.7077 | 12420.1569 | 502.5773 | 7874.5803 | 238.0206
7 | 1842.12 | 1472.56 | 710.3571 | 198 | 3225.7904 | 1519 | 859.375 | 238.7077 | 12558.8277 | 502.5773 | 5244.7536 | 238.0206
8 | 2205.24 | 493.96 | 752.1429 | 198 | 3322.5808 | 980 | 922.8516 | 238.7077 | 15572.1403 | 904.6392 | 5632.1501 | 238.0206
9 | 1897.2 | 481.844 | 961.0714 | 495 | 3254.16 | 392 | 859.375 | 596.7692 | 16808.2776 | 703.6082 | 5244.7536 | 595.0515
10 | 1874.76 | 205.04 | 702 | 1012.77 | 3337.6 | 441 | 846.6797 | 1220.9898 | 15395.1923 | 884.5361 | 5167.2743 | 1415.826
11 | 1621.8 | 2143.6 | 727.0714 | 1474.11 | 4172 | 1862 | 884.7656 | 1777.1788 | 14874.5819 | 904.6392 | 5399.7122 | 1772.0635
12 | 1581 | 2050.4 | 743.7857 | 2178 | 4589.2 | 2548 | 910.1562 | 2625.7846 | 13456.5385 | 1105.6701 | 5554.6708 | 3609.9794
13 | 1535.304 | 2013.12 | 835.7143 | 2574 | 5016.4128 | 1470 | 897.4609 | 3103.2 | 14825 | 1206.1856 | 5477.1915 | 4086.0206
14 | 1472.6352 | 197.584 | 727.0714 | 2673 | 5183.2928 | 1470 | 884.7656 | 3222.5538 | 15965.3846 | 1367.0103 | 5399.7122 | 4205.0309
15 | 1793.16 | 223.68 | 718.7143 | 2673 | 5423.6 | 2548 | 872.0703 | 3222.5538 | 17105.7692 | 1407.2165 | 5322.2329 | 3213.2784
16 | 1581 | 792.2 | 885.8571 | 2673 | 5507.04 | 490 | 872.0703 | 3222.5538 | 16877.6923 | 1950 | 5322.2329 | 3213.2784
17 | 1770.312 | 1770.8 | 793.9286 | 2673 | 5572.1232 | 2156 | 986.3281 | 3222.5538 | 15215.4677 | 1889.6907 | 6019.5467 | 3213.2784
18 | 1907.4 | 1584.4 | 793.9286 | 2277 | 7593.04 | 3430 | 1240.2344 | 2745.1385 | 15372.3846 | 1809.2784 | 7569.133 | 2737.2371
19 | 2429.64 | 932 | 1044.6429 | 2277 | 8145.3333 | 2940 | 1494.1406 | 2745.1385 | 12772.3077 | 1708.7629 | 9118.7193 | 2737.2371
20 | 2590.8 | 838.8 | 1086.4286 | 2277 | 7926.8 | 2548 | 1684.5703 | 2745.1385 | 11289.8077 | 1648.4536 | 10280.909 | 2737.2371
21 | 2393.94 | 46.6 | 1429.0714 | 1881 | 7171.8667 | 49 | 1824.2188 | 2267.7231 | 9063.5786 | 1608.2474 | 11133.1814 | 2261.1959
22 | 2184.84 | 46.6 | 1203.4286 | 1089 | 7067.5667 | 49 | 1608.3984 | 1312.8923 | 8736.3378 | 1206.1856 | 9816.0331 | 1309.1134
23 | 1817.64 | 46.6 | 1044.6429 | 297 | 6565.4565 | 49 | 1367.1875 | 358.0615 | 8081.8562 | 904.6392 | 8343.9261 | 357.0309
24 | 1752.36 | 46.6 | 668.5714 | 198 | 3754.8 | 49 | 795.8984 | 238.7077 | 7883.5284 | 301.5464 | 4857.357 | 238.0206
25 | 2244 | 46.6 | 41.7857 | 1485 | 3476.6667 | 49 | 63.4766 | 2486.5385 | 13882.9431 | 703.6082 | 12515.8892 | 2479.3814
26 | 2346 | 46.6 | 41.7857 | 1485 | 3646.5267 | 49 | 63.4766 | 2486.5385 | 14378.7625 | 728.7371 | 12962.8852 | 2479.3814
27 | 2448 | 46.6 | 41.7857 | 1485 | 3576 | 49 | 63.4766 | 2486.5385 | 13783.7793 | 698.5825 | 12426.49 | 2479.3814
28 | 2499 | 46.6 | 41.7857 | 1485 | 3973.3333 | 196 | 63.4766 | 2486.5385 | 13387.1237 | 678.4794 | 12068.8932 | 2479.3814
29 | 2448 | 466 | 41.7857 | 1485 | 3675.3333 | 392 | 63.4766 | 2486.5385 | 13585.4515 | 688.5309 | 12247.6916 | 2479.3814
30 | 2754 | 932 | 41.7857 | 1485 | 3788.5733 | 588 | 63.4766 | 2486.5385 | 13500.1706 | 684.2088 | 12170.8083 | 2479.3814
31 | 2958 | 1398 | 83.5714 | 1485 | 3840.2267 | 980 | 126.9531 | 2486.5385 | 13650.8997 | 691.8479 | 12306.695 | 2479.3814
32 | 2856 | 466 | 125.3571 | 2475 | 3955.4533 | 1176 | 190.4297 | 4475.7692 | 13369.2742 | 677.5747 | 12052.8013 | 4462.8866
33 | 2805 | 466 | 83.5714 | 4455 | 3874 | 147 | 126.9531 | 5967.6923 | 12891.3043 | 653.3505 | 11621.8971 | 5950.5155
34 | 2754 | 186.4 | 75.2143 | 5940 | 3973.3333 | 147 | 114.2578 | 6862.8462 | 11899.6656 | 603.0928 | 10727.905 | 6843.0928
35 | 2550 | 1864 | 100.2857 | 7128 | 4966.6667 | 1666 | 152.3438 | 8951.5385 | 10908.0268 | 552.8351 | 9833.9129 | 6942.268
36 | 2550 | 1864 | 117 | 7326 | 5463.3333 | 1862 | 177.7344 | 10940.7692 | 13387.1237 | 678.4794 | 12068.8932 | 7934.0206
37 | 2478.6 | 1864 | 108.6429 | 7920 | 5971.92 | 1470 | 165.0391 | 11935.3846 | 15878.1204 | 804.7268 | 14314.6013 | 8429.8969
38 | 2380.68 | 186.4 | 100.2857 | 7920 | 6170.5867 | 1470 | 152.3438 | 12233.7692 | 16076.4482 | 814.7784 | 14493.3997 | 9223.299
39 | 2499 | 186.4 | 91.9286 | 7920 | 6456.6667 | 1568 | 139.6484 | 12930 | 16362.0401 | 829.2526 | 14750.8694 | 9421.6495
40 | 2550 | 745.6 | 91.9286 | 7920 | 6556 | 980 | 139.6484 | 11935.3846 | 16461.204 | 834.2784 | 14840.2686 | 9620
41 | 2845.8 | 1677.6 | 167.1429 | 7227 | 6633.48 | 1558.2 | 253.9062 | 10940.7692 | 16538.5518 | 838.1985 | 14910 | 9322.4742
42 | 3060 | 1398 | 334.2857 | 6732 | 7549.3333 | 1960 | 507.8125 | 10344 | 15469.5652 | 784.0206 | 13946.2765 | 8925.7732
43 | 3366 | 932 | 501.4286 | 5940 | 8443.3333 | 2940 | 761.7188 | 8951.5385 | 13882.9431 | 703.6082 | 12515.8892 | 8429.8969
44 | 3570 | 745.6 | 626.7857 | 5445 | 8940 | 3332 | 952.1484 | 8951.5385 | 11899.6656 | 603.0928 | 10727.905 | 8132.3711
45 | 3264 | 46.6 | 718.7143 | 3960 | 7847.3333 | 49 | 1091.7969 | 8653.1538 | 10709.699 | 542.7835 | 9655.1145 | 7934.0206
46 | 2856 | 46.6 | 576.6429 | 2970 | 7450 | 49 | 875.9766 | 7857.4615 | 7933.1104 | 402.0619 | 7151.9367 | 5950.5155
47 | 2601 | 46.6 | 417.8571 | 1980 | 6633.48 | 49 | 634.7656 | 6465 | 12601.7458 | 638.6753 | 11360.8514 | 4462.8866
48 | 2499 | 46.6 | 41.7857 | 1485 | 4470 | 49 | 63.4766 | 1491.9231 | 14378.7625 | 145.7474 | 12962.8852 | 1487.6289
49 | 1148.418 | 46.6 | 419.5286 | 237.6 | 3037.216 | 49 | 795.8984 | 298.3846 | 7116 | 241.2371 | 5666.9165 | 297.5258
50 | 1340.178 | 46.6 | 685.2857 | 237.6 | 3185.6057 | 49 | 795.8984 | 298.3846 | 8302 | 241.2371 | 5666.9165 | 297.5258
51 | 1516.6992 | 46.6 | 768.8571 | 237.6 | 3123.9936 | 49 | 795.8984 | 298.3846 | 8895 | 241.2371 | 5666.9165 | 297.5258
52 | 1727.778 | 46.6 | 768.8571 | 237.6 | 3471.104 | 294 | 795.8984 | 298.3846 | 9488 | 241.2371 | 5666.9165 | 297.5258
53 | 1795.506 | 521.92 | 760.5 | 237.6 | 3210.7712 | 2597 | 795.8984 | 298.3846 | 10674 | 241.2371 | 5666.9165 | 297.5258
54 | 2059.788 | 894.72 | 919.2857 | 237.6 | 3309.6977 | 3332 | 795.8984 | 298.3846 | 13214.4548 | 241.2371 | 5666.9165 | 297.5258
55 | 2240.226 | 1192.028 | 848.25 | 237.6 | 3354.822 | 2548 | 859.375 | 298.3846 | 15070.5932 | 241.2371 | 6118.8792 | 297.5258
56 | 2111.502 | 810.84 | 927.6429 | 237.6 | 3455.484 | 2254 | 922.8516 | 298.3846 | 16195.0259 | 241.2371 | 6570.8418 | 297.5258
57 | 1890.06 | 497.688 | 1032.1071 | 594 | 3384.3264 | 49 | 859.375 | 745.9615 | 17061.1455 | 603.0928 | 6118.8792 | 743.8144
58 | 1764.498 | 316.88 | 531.5143 | 1215.324 | 3471.104 | 49 | 846.6797 | 1526.2373 | 16011 | 429.8041 | 6028.4866 | 1521.8443
59 | 1804.89 | 1631 | 612.5786 | 1768.932 | 4438.2133 | 2646 | 884.7656 | 2221.4735 | 15568.7291 | 790.8557 | 6299.6642 | 1223.3268
60 | 1507.05 | 2330 | 585.8357 | 2613.6 | 4971.4347 | 3724 | 910.1562 | 3282.2308 | 14193.1278 | 1145.8763 | 6480.4493 | 1289.2784
61 | 1418.2692 | 2190.2 | 685.2857 | 3088.8 | 5217.0693 | 1666 | 897.4609 | 3879 | 15418 | 1628.3505 | 6390.0568 | 2876.0825
62 | 1587.067 | 838.8 | 495.5786 | 3207.6 | 5390.6245 | 1744.4 | 884.7656 | 4028.1923 | 16604 | 1748.9691 | 6299.6642 | 4016.5979
63 | 1638.018 | 753.988 | 638.4857 | 3207.6 | 5640.544 | 2744 | 872.0703 | 4028.1923 | 17790 | 743.8144 | 6209.2717 | 3024.8454
64 | 1578.45 | 857.44 | 797.2714 | 3207.6 | 5727.3216 | 49 | 872.0703 | 4028.1923 | 17552.8 | 1246.3918 | 6209.2717 | 3024.8454
65 | 1960.8276 | 1258.2 | 714.5357 | 3207.6 | 6490.3415 | 2352 | 986.3281 | 4028.1923 | 16518.2336 | 1246.3918 | 7022.8045 | 2975.2577
66 | 2104.77 | 1351.4 | 714.5357 | 2732.4 | 7896.7616 | 5880 | 1240.2344 | 3431.4231 | 15987.28 | 763.9175 | 8830.6552 | 3421.5464
67 | 2653.122 | 1584.4 | 1107.3214 | 2732.4 | 8272.48 | 4998 | 1494.1406 | 3431.4231 | 13084.8722 | 1769.0722 | 10638.5058 | 3421.5464
68 | 2822.34 | 932 | 1228.5 | 2732.4 | 8084.9387 | 4606 | 1684.5703 | 3431.4231 | 11582.7378 | 1769.0722 | 11994.3938 | 2330.6186
69 | 2615.637 | 46.6 | 1570.3071 | 2257.2 | 7458.7413 | 49 | 1824.2188 | 2834.6538 | 10814.4161 | 1286.5979 | 12988.7117 | 1834.7423
70 | 2396.082 | 46.6 | 1417.3714 | 1306.8 | 7151.6027 | 49 | 1608.3984 | 1641.1154 | 9817.2241 | 1326.8041 | 11452.0386 | 1636.3918
71 | 2010.522 | 46.6 | 773.0357 | 356.4 | 6828.0748 | 49 | 1367.1875 | 447.5769 | 9396.7692 | 361.8557 | 9734.5805 | 446.2887
72 | 1941.978 | 46.6 | 476.3571 | 237.6 | 3904.992 | 49 | 795.8984 | 298.3846 | 8924.7492 | 241.2371 | 5666.9165 | 297.5258
73 | 1795.2 | 46.6 | 4011.4286 | 99 | 2781.3333 | 49 | 3593.75 | 149.1923 | 5949.8328 | 485.4897 | 7310.8686 | 148.7629
74 | 1999.2 | 46.6 | 3969.6429 | 99 | 2917.2213 | 49 | 4003.9062 | 149.1923 | 6941.4716 | 566.4046 | 8145.2612 | 148.7629
75 | 2059.38 | 46.6 | 3844.2857 | 99 | 2860.8 | 49 | 4003.9062 | 149.1923 | 7437.291 | 606.8621 | 8145.2612 | 148.7629
76 | 1999.2 | 46.6 | 3677.1429 | 99 | 3178.6667 | 2352 | 3955.0781 | 149.1923 | 7933.1104 | 647.3196 | 8045.9288 | 148.7629
77 | 1958.4 | 559.2 | 3760.7143 | 99 | 2940.2667 | 2940 | 4101.5625 | 149.1923 | 8924.7492 | 728.2345 | 8343.9261 | 148.7629
78 | 2203.2 | 1118.4 | 3510 | 99 | 3030.8587 | 3234 | 4199.2188 | 149.1923 | 10800.1365 | 881.2609 | 8542.591 | 148.7629
79 | 2366.4 | 1118.4 | 3593.5714 | 99 | 3072.1813 | 2548 | 4287.1094 | 149.1923 | 10920.7197 | 891.1001 | 8721.3895 | 148.7629
80 | 2692.8 | 559.2 | 3342.8571 | 99 | 3164.3627 | 2450 | 4687.5 | 149.1923 | 12678.697 | 1104.907 | 9535.9156 | 148.7629
81 | 2244 | 605.8 | 3175.7143 | 99 | 3099.2 | 49 | 4882.8125 | 149.1923 | 12891.3043 | 1192.616 | 9933.2454 | 148.7629
82 | 2407.2 | 419.4 | 2841.4286 | 99 | 3178.6667 | 49 | 5078.125 | 149.1923 | 13387.1237 | 1092.3518 | 10330.5752 | 148.7629
83 | 2091 | 1677.6 | 2757.8571 | 99 | 3973.3333 | 1960 | 5156.25 | 149.1923 | 13882.9431 | 1055.4124 | 10489.5071 | 148.7629
84 | 2040 | 1584.4 | 2841.4286 | 99 | 4370.6667 | 2940 | 5312.5 | 149.1923 | 11701.3378 | 954.7964 | 10807.371 | 148.7629
85 | 1982.88 | 1491.2 | 2883.2143 | 99 | 4777.536 | 2058 | 5390.625 | 149.1923 | 12891.3043 | 1051.8943 | 10966.3029 | 148.7629
86 | 1904.544 | 419.4 | 2925 | 99 | 4936.4693 | 1960 | 5468.75 | 149.1923 | 13882.9431 | 1132.8093 | 11125.2348 | 148.7629
87 | 2305.2 | 233 | 3008.5714 | 99 | 5165.3333 | 2842 | 5625 | 149.1923 | 14874.5819 | 1213.7242 | 11443.0987 | 148.7629
88 | 2040 | 932 | 3342.8571 | 99 | 5244.8 | 49 | 6250 | 149.1923 | 14676.2542 | 1197.5412 | 12714.5541 | 148.7629
89 | 2276.64 | 1957.2 | 3844.2857 | 99 | 5306.784 | 2548 | 7187.5 | 149.1923 | 13230.8415 | 1079.5996 | 12913.219 | 148.7629
90 | 2448 | 1677.6 | 4178.5714 | 99 | 7231.4667 | 4900 | 7812.5 | 149.1923 | 13367.291 | 1090.7335 | 11919.8945 | 148.7629
91 | 3100.8 | 1118.4 | 4345.7143 | 99 | 7946.6667 | 5488 | 8125 | 149.1923 | 11106.3545 | 906.2474 | 11919.8945 | 148.7629
92 | 2856 | 1118.4 | 4429.2857 | 99 | 7549.3333 | 5096 | 8281.25 | 149.1923 | 9817.2241 | 801.058 | 10886.837 | 148.7629
93 | 2611.2 | 46.6 | 4596.4286 | 99 | 6873.8667 | 49 | 8593.75 | 149.1923 | 9519.7324 | 643.0979 | 9933.2454 | 148.7629
94 | 2284.8 | 46.6 | 4680 | 99 | 6258 | 49 | 8750 | 149.1923 | 9321.4047 | 619.8789 | 8939.9209 | 148.7629
95 | 2080.8 | 46.6 | 4429.2857 | 99 | 5306.784 | 49 | 8281.25 | 149.1923 | 8924.7492 | 573.4407 | 6913.5388 | 148.7629
96 | 1999.2 | 46.6 | 4262.1429 | 99 | 3576 | 49 | 7968.75 | 149.1923 | 8924.7492 | 559.3686 | 5860.6148 | 148.7629

## B
time | Predicted curve of PV | Predicted curve of WT
1 | 0 | 0.22711
2 | 0 | 0.23019
3 | 0 | 0.26869
4 | 0 | 0.33033
5 | 0 | 0.37784
6 | 0 | 0.38521
7 | 0.0026032 | 0.36269
8 | 0.0083674 | 0.36351
9 | 0.04035 | 0.3717
10 | 0.091298 | 0.35081
11 | 0.15117 | 0.31046
12 | 0.19989 | 0.299
13 | 0.23894 | 0.34528
14 | 0.23801 | 0.41266
15 | 0.22666 | 0.46754
16 | 0.19041 | 0.50829
17 | 0.13425 | 0.56031
18 | 0.05318 | 0.64346
19 | 0.0081815 | 0.75773
20 | 0.0029751 | 0.84272
21 | 0.0024173 | 0.88204
22 | 0.00018594 | 0.93078
23 | 0 | 0.94245
24 | 0 | 0.92013
25 | 0 | 0.16363
26 | 0 | 0.1411
27 | 0 | 0.13311
28 | 0 | 0.13987
29 | 0 | 0.15523
30 | 0.00092971 | 0.16854
31 | 0.055039 | 0.17182
32 | 0.19877 | 0.1837
33 | 0.40721 | 0.18227
34 | 0.64001 | 0.205
35 | 0.81833 | 0.26172
36 | 0.94775 | 0.28835
37 | 1 | 0.39341
38 | 0.96672 | 0.51362
39 | 0.84846 | 0.61008
40 | 0.70342 | 0.66947
41 | 0.50037 | 0.70715
42 | 0.27929 | 0.76899
43 | 0.10431 | 0.82716
44 | 0.010971 | 0.91296
45 | 0.0040907 | 0.97747
46 | 0.00018594 | 1
47 | 0.00018594 | 0.97563
48 | 0.00018594 | 0.96007
49 | 0 | 0.24575
50 | 0 | 0.19701
51 | 0 | 0.19087
52 | 0 | 0.19496
53 | 0 | 0.20377
54 | 0.0013016 | 0.29654
55 | 0.015433 | 0.32193
56 | 0.12551 | 0.27381
57 | 0.29472 | 0.26029
58 | 0.48271 | 0.2523
59 | 0.6257 | 0.25701
60 | 0.73113 | 0.31804
61 | 0.7315 | 0.37682
62 | 0.72797 | 0.46652
63 | 0.64522 | 0.48781
64 | 0.49647 | 0.53778
65 | 0.35999 | 0.52898
66 | 0.16158 | 0.47368
67 | 0.033284 | 0.4446
68 | 0.0076237 | 0.42494
69 | 0.0042767 | 0.44788
70 | 0.00018594 | 0.43764
71 | 0 | 0.46979
72 | 0 | 0.49068
73 | 0.00018594 | 0.59492
74 | 0.00018594 | 0.61499
75 | 0.00018594 | 0.61397
76 | 0.00018594 | 0.61765
77 | 0.00018594 | 0.59943
78 | 0.0016735 | 0.56666
79 | 0.0070658 | 0.53881
80 | 0.051134 | 0.50973
81 | 0.31796 | 0.48003
82 | 0.59167 | 0.4487
83 | 0.76962 | 0.41429
84 | 0.84083 | 0.38173
85 | 0.84381 | 0.35798
86 | 0.80197 | 0.35286
87 | 0.65954 | 0.36945
88 | 0.43938 | 0.37231
89 | 0.17832 | 0.37743
90 | 0.017851 | 0.39873
91 | 0.010599 | 0.419
92 | 0.0076237 | 0.4274
93 | 0.0042767 | 0.436
94 | 0 | 0.44317
95 | 0 | 0.45259
96 | 0 | 0.46897

## C
Time | Predicted workload of district A in 3rd stage (unit: ×103requests/s) |  | Predicted workload of district B in 3rd stage (unit: ×103requests/s) |  | Predicted workload of district C in 3rd stage (unit:×103 requests/s)
| delay-tolerant workload | delay-senstive workload | delay-tolerant workload | delay-senstive workload | delay-tolerant workload | delay-senstive workload
1 | 42 | 42 | 20 | 20 | 150 | 150
2 | 46 | 46 | 20 | 20 | 155 | 155
3 | 56 | 56 | 22 | 22 | 160 | 160
4 | 58 | 58 | 22 | 22 | 149 | 149
5 | 62 | 62 | 24 | 24 | 145 | 145
6 | 78 | 78 | 25 | 25 | 160 | 160
7 | 86 | 86 | 26 | 26 | 170 | 170
8 | 98 | 98 | 26.5 | 26.5 | 180 | 180
9 | 73 | 73 | 37 | 37 | 190 | 190
10 | 67 | 67 | 42 | 42 | 200 | 200
11 | 75 | 75 | 46 | 46 | 185 | 185
12 | 79 | 79 | 49 | 49 | 160 | 160
13 | 74 | 74 | 53 | 53 | 170 | 170
14 | 69 | 69 | 59 | 59 | 175 | 175
15 | 60 | 60 | 63 | 63 | 176 | 176
16 | 55 | 55 | 78 | 78 | 173 | 173
17 | 70 | 70 | 84 | 84 | 170 | 170
18 | 84 | 84 | 120 | 120 | 175 | 175
19 | 98 | 98 | 140 | 140 | 160 | 160
20 | 105 | 105 | 160 | 160 | 150 | 150
21 | 104 | 104 | 150 | 150 | 140 | 140
22 | 78 | 78 | 100 | 100 | 155 | 155
23 | 65 | 65 | 60 | 60 | 160 | 160
24 | 53 | 53 | 40 | 40 | 149 | 149
25 | 42 | 42 | 20 | 20 | 150 | 150
26 | 46 | 46 | 20 | 20 | 155 | 155
27 | 56 | 56 | 22 | 22 | 160 | 160
28 | 58 | 58 | 22 | 22 | 149 | 149
29 | 62 | 62 | 24 | 24 | 145 | 145
30 | 78 | 78 | 25 | 25 | 160 | 160
31 | 86 | 86 | 26 | 26 | 170 | 170
32 | 98 | 98 | 26.5 | 26.5 | 180 | 180
33 | 73 | 73 | 37 | 37 | 190 | 190
34 | 67 | 67 | 42 | 42 | 200 | 200
35 | 75 | 75 | 46 | 46 | 185 | 185
36 | 79 | 79 | 49 | 49 | 160 | 160
37 | 74 | 74 | 53 | 53 | 170 | 170
38 | 69 | 69 | 59 | 59 | 175 | 175
39 | 60 | 60 | 63 | 63 | 176 | 176
40 | 55 | 55 | 78 | 78 | 173 | 173
41 | 70 | 70 | 84 | 84 | 170 | 170
42 | 84 | 84 | 120 | 120 | 175 | 175
43 | 98 | 98 | 140 | 140 | 160 | 160
44 | 105 | 105 | 160 | 160 | 150 | 150
45 | 104 | 104 | 150 | 150 | 140 | 140
46 | 78 | 78 | 100 | 100 | 155 | 155
47 | 65 | 65 | 60 | 60 | 160 | 160
48 | 53 | 53 | 40 | 40 | 149 | 149
49 | 42 | 42 | 20 | 20 | 150 | 150
50 | 46 | 46 | 20 | 20 | 155 | 155
51 | 56 | 56 | 22 | 22 | 160 | 160
52 | 58 | 58 | 22 | 22 | 149 | 149
53 | 62 | 62 | 24 | 24 | 145 | 145
54 | 78 | 78 | 25 | 25 | 160 | 160
55 | 86 | 86 | 26 | 26 | 170 | 170
56 | 98 | 98 | 26.5 | 26.5 | 180 | 180
57 | 73 | 73 | 37 | 37 | 190 | 190
58 | 67 | 67 | 42 | 42 | 200 | 200
59 | 75 | 75 | 46 | 46 | 185 | 185
60 | 79 | 79 | 49 | 49 | 160 | 160
61 | 74 | 74 | 53 | 53 | 170 | 170
62 | 69 | 69 | 59 | 59 | 175 | 175
63 | 60 | 60 | 63 | 63 | 176 | 176
64 | 55 | 55 | 78 | 78 | 173 | 173
65 | 70 | 70 | 84 | 84 | 170 | 170
66 | 84 | 84 | 120 | 120 | 175 | 175
67 | 98 | 98 | 140 | 140 | 160 | 160
68 | 105 | 105 | 160 | 160 | 150 | 150
69 | 104 | 104 | 150 | 150 | 140 | 140
70 | 78 | 78 | 100 | 100 | 155 | 155
71 | 65 | 65 | 60 | 60 | 160 | 160
72 | 53 | 53 | 40 | 40 | 149 | 149
73 | 42 | 42 | 20 | 20 | 150 | 150
74 | 46 | 46 | 20 | 20 | 155 | 155
75 | 56 | 56 | 22 | 22 | 160 | 160
76 | 58 | 58 | 22 | 22 | 149 | 149
77 | 62 | 62 | 24 | 24 | 145 | 145
78 | 78 | 78 | 25 | 25 | 160 | 160
79 | 86 | 86 | 26 | 26 | 170 | 170
80 | 98 | 98 | 26.5 | 26.5 | 180 | 180
81 | 73 | 73 | 37 | 37 | 190 | 190
82 | 67 | 67 | 42 | 42 | 200 | 200
83 | 75 | 75 | 46 | 46 | 185 | 185
84 | 79 | 79 | 49 | 49 | 160 | 160
85 | 74 | 74 | 53 | 53 | 170 | 170
86 | 69 | 69 | 59 | 59 | 175 | 175
87 | 60 | 60 | 63 | 63 | 176 | 176
88 | 55 | 55 | 78 | 78 | 173 | 173
89 | 70 | 70 | 84 | 84 | 170 | 170
90 | 84 | 84 | 120 | 120 | 175 | 175
91 | 98 | 98 | 140 | 140 | 160 | 160
92 | 105 | 105 | 160 | 160 | 150 | 150
93 | 104 | 104 | 150 | 150 | 140 | 140
94 | 78 | 78 | 100 | 100 | 155 | 155
95 | 65 | 65 | 60 | 60 | 160 | 160
96 | 53 | 53 | 40 | 40 | 149 | 149

## D
Time | Cross-district multi-energy flow in 1st stage for case 5 (unit: kW)
| Ditrict A→District C |  |  | Ditrict C→Ditrict A |  |  | Ditrict B→Ditrict C |  | Ditrict C→Ditrict B
| electicity | heat | cooling | electricity | heat | cooling | heat | cooling | heat | cooling
1 | 0 | 0 | 0 | 0 | 613.5126 | 437.7501 | 979.7681 | 1957.2929 | 0 | 0
2 | 0 | 0 | 0 | 0 | 629.2437 | 431.9046 | 998.2753 | 1991.0246 | 0 | 0
3 | 0 | 0 | 0 | 0 | 707.8992 | 463.1606 | 1090.8111 | 2068.4051 | 0 | 0
4 | 13.2104 | 0 | 0 | 0 | 629.2437 | 869.5009 | 998.2753 | 2457.1132 | 0 | 0
5 | 326.0495 | 0 | 0 | 0 | 629.2437 | 873.6429 | 998.2753 | 2429.4992 | 0 | 0
6 | 21.4776 | 0 | 0 | 0 | 786.5546 | 0 | 0 | 1523.5103 | 0 | 0
7 | 575.2945 | 0 | 0 | 0 | 0 | 0 | 3847.5454 | 1604.7278 | 0 | 0
8 | 522.0709 | 0 | 1396.9153 | 0 | 707.8992 | 0 | 0 | 289.0301 | 868.5662 | 0
9 | 4413.8747 | 3878.5102 | 1860.4136 | 0 | 0 | 0 | 0 | 0 | 808.8235 | 0
10 | 4151.9258 | 3166.1193 | 2549.7753 | 0 | 0 | 0 | 638.4299 | 0 | 0 | 741.9842
11 | 3699.8404 | 3146.0622 | 1875.456 | 0 | 0 | 0 | 0 | 1294.9032 | 832.7206 | 0
12 | 3341.966 | 3132.6907 | 1072.2155 | 0 | 0 | 0 | 0 | 3282.2768 | 0 | 0
13 | 3708.4307 | 3059.1479 | 789.933 | 0 | 0 | 0 | 0 | 2285.504 | 0 | 0
14 | 3571.2061 | 3146.0622 | 260.2639 | 0 | 0 | 0 | 0 | 2741.3993 | 0 | 0
15 | 3450.1825 | 3152.7479 | 109.3296 | 0 | 0 | 0 | 0 | 2907.231 | 0 | 0
16 | 3463.9455 | 3019.0336 | 0 | 0 | 0 | 0 | 0 | 2641.5154 | 0 | 0
17 | 0 | 0 | 1472.4632 | 0 | 747.2269 | 0 | 0 | 2290.8189 | 0 | 0
18 | 0 | 0 | 746.9294 | 60.8788 | 747.2269 | 0 | 0 | 3250.611 | 0 | 0
19 | 0 | 0 | 3881.0239 | 0 | 983.1933 | 0 | 0 | 2739.2582 | 0 | 0
20 | 94.313 | 0 | 0 | 0 | 1022.521 | 0 | 0 | 1854.7059 | 1483.9124 | 0
21 | 0 | 0 | 0 | 3534.3117 | 1345.0084 | 0 | 0 | 1432.6077 | 1561.88 | 0
22 | 0 | 0 | 0 | 4761.0261 | 832.034 | 0 | 3998.9955 | 0 | 0 | 0
23 | 0 | 0 | 0 | 4532.2822 | 983.1933 | 0 | 2791.3175 | 0 | 0 | 0
24 | 0 | 0 | 0 | 4471.6804 | 629.2437 | 0 | 0 | 290.8671 | 749.0809 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 5000 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 5000 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 5000 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 5000 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 5000 | 0 | 0 | 0
30 | 767.4871 | 3694.2907 | 999.671 | 0 | 0 | 0 | 80.9179 | 2633.3554 | 0 | 0
31 | 820.407 | 2998.118 | 1435.4979 | 0 | 0 | 0 | 904.984 | 2278.746 | 0 | 0
32 | 1994.3164 | 3444.8828 | 1198.8299 | 0 | 0 | 0 | 219.2604 | 1218.4243 | 0 | 0
33 | 2072.2002 | 3258.5863 | 0 | 0 | 0 | 0 | 0 | 71.6238 | 0 | 0
34 | 0 | 2205.7778 | 2728.1949 | 1013.2713 | 0 | 0 | 0 | 0 | 0 | 0
35 | 0 | 0 | 0 | 819.8033 | 94.3866 | 0 | 0 | 0 | 0 | 0
36 | 0 | 3078.0042 | 2499.7083 | 2959.6533 | 0 | 0 | 0 | 0 | 167.2794 | 3072.9683
37 | 0 | 0 | 0 | 0 | 102.2521 | 0 | 3191.428 | 2419.4073 | 0 | 0
38 | 0 | 2442.7539 | 892.8284 | 5000 | 0 | 0 | 0 | 251.1202 | 0 | 0
39 | 0 | 2203.755 | 91.836 | 5000 | 0 | 0 | 0 | 2166.813 | 0 | 0
40 | 0 | 2290.2503 | 0 | 5000 | 0 | 0 | 0 | 2239.3987 | 0 | 0
41 | 0 | 2389.2682 | 836.0205 | 5000 | 0 | 0 | 0 | 0 | 0 | 0
42 | 0 | 1794.3082 | 272.0215 | 5000 | 0 | 0 | 0 | 0 | 0 | 0
43 | 0 | 1085.3731 | 0 | 4799.7328 | 0 | 0 | 292.8528 | 0 | 0 | 0
44 | 0 | 2013.3551 | 1735.0434 | 5000 | 0 | 0 | 0 | 0 | 896.1397 | 0
45 | 0 | 66.7673 | 0 | 4146.737 | 0 | 0 | 0 | 4273.3853 | 0 | 0
46 | 0 | 0 | 0 | 5000 | 0 | 0 | 14.0204 | 3240.3322 | 0 | 0
47 | 0 | 0 | 422.13 | 4820.6511 | 0 | 0 | 4459.7858 | 0 | 0 | 1201.0705
48 | 0 | 0 | 0 | 4834.9456 | 0 | 0 | 5000 | 0 | 0 | 0
49 | 202.0108 | 0 | 0 | 0 | 394.8504 | 564.7475 | 0 | 1898.7494 | 0 | 0
50 | 0 | 0 | 0 | 0 | 0 | 0 | 4648.9955 | 0 | 0 | 0
51 | 0 | 0 | 0 | 0 | 723.6303 | 223.6338 | 0 | 1842.6137 | 0 | 0
52 | 0 | 0 | 0 | 0 | 723.6303 | 446.5976 | 0 | 3538.4137 | 0 | 0
53 | 0 | 0 | 0 | 0 | 715.7647 | 1803.6993 | 0 | 3579.6881 | 0 | 0
54 | 2484.1715 | 3694.2767 | 1437.3845 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | 0 | 0 | 0 | 0 | 798.3529 | 0 | 0 | 280.0345 | 808.8235 | 0
56 | 0 | 0 | 0 | 0 | 873.0756 | 0 | 0 | 3264.7791 | 397.9702 | 0
57 | 520.2831 | 0 | 187.3415 | 0 | 971.395 | 0 | 0 | 820.6846 | 661.221 | 0
58 | 3635.9383 | 3302.5079 | 2387.7321 | 0 | 0 | 0 | 0 | 884.6559 | 796.875 | 0
59 | 0 | 0 | 0 | 1257.5959 | 576.5445 | 0 | 0 | 2150.5475 | 832.7206 | 0
60 | 0 | 0 | 0 | 22.7126 | 551.3748 | 0 | 0 | 3245.934 | 0 | 0
61 | 0 | 0 | 1088.8962 | 1704.8568 | 644.9748 | 0 | 0 | 2389.497 | 0 | 0
62 | 0 | 0 | 0 | 0 | 466.4269 | 0 | 0 | 1576.4431 | 0 | 0
63 | 0 | 0 | 0 | 0 | 492.6585 | 0 | 0 | 1647.3473 | 0 | 0
64 | 0 | 0 | 2799.19 | 386.2374 | 750.3731 | 0 | 0 | 1452.797 | 0 | 0
65 | 0 | 0 | 499.4392 | 0 | 672.5042 | 0 | 0 | 2173.3528 | 0 | 0
66 | 569.0234 | 0 | 0 | 0 | 672.5042 | 0 | 0 | 2014.9471 | 0 | 0
67 | 724.4362 | 2841.8622 | 0 | 0 | 0 | 0 | 0 | 2719.5983 | 0 | 0
68 | 0 | 1767.7434 | 0 | 0 | 0 | 0 | 1372.5265 | 3171.6489 | 0 | 0
69 | 17.1252 | 2471.4736 | 0 | 0 | 0 | 0 | 274.2046 | 2409.7052 | 0 | 0
70 | 0 | 0 | 0 | 0 | 0 | 0 | 3998.9955 | 0 | 0 | 0
71 | 0 | 0 | 0 | 0 | 727.563 | 0 | 4191.9643 | 0 | 0 | 0
72 | 1401.8259 | 0 | 0 | 0 | 448.3361 | 0 | 0 | 3721.6603 | 303.845 | 0
73 | 1061.0358 | 0 | 0 | 0 | 3687.0194 | 0 | 5000 | 0 | 0 | 0
74 | 0 | 0 | 3242.8017 | 0 | 0 | 0 | 1447.6408 | 0 | 0 | 0
75 | 0 | 0 | 2419.1315 | 0 | 539.7062 | 0 | 2082.5893 | 0 | 0 | 0
76 | 0 | 0 | 2011.1952 | 0 | 652.3753 | 0 | 2121.6518 | 0 | 0 | 0
77 | 0 | 0 | 2618.2369 | 0 | 314.368 | 0 | 2004.4643 | 0 | 0 | 0
78 | 0 | 0 | 2624.4047 | 0 | 0 | 0 | 4697.7679 | 0 | 0 | 3828.5427
79 | 0 | 0 | 0 | 0 | 2547.3631 | 0 | 1080.2884 | 1269.0724 | 0 | 0
80 | 0 | 0 | 0 | 0 | 2562.1645 | 0 | 1951.4387 | 0 | 0 | 0
81 | 0 | 0 | 0 | 0 | 2303.9156 | 0 | 1339.0389 | 509.7834 | 0 | 0
82 | 772.1423 | 0 | 0 | 0 | 2674.2857 | 93.1867 | 0 | 0 | 0 | 785.1944
83 | 814.0729 | 0 | 0 | 0 | 2595.6303 | 93.1867 | 0 | 0 | 0 | 393.4014
84 | 0 | 30.6508 | 0 | 4112.711 | 0 | 0 | 5000 | 0 | 0 | 96.5953
85 | 0 | 0 | 2247.5691 | 0 | 406.8267 | 0 | 973.014 | 1851.8953 | 0 | 0
86 | 0 | 0 | 0 | 0 | 2327.1274 | 0 | 1974.0449 | 773.2165 | 0 | 0
87 | 0 | 0 | 0 | 0 | 2658.9546 | 0 | 0 | 378.0503 | 0 | 0
88 | 14.9732 | 0 | 0 | 0 | 3146.2185 | 654.9402 | 1769.9155 | 2989.4398 | 0 | 0
89 | 367.0844 | 652.2907 | 560.8159 | 0 | 0 | 0 | 0 | 859.7978 | 2037.3055 | 0
90 | 2236.4516 | 1907.9096 | 140.0224 | 0 | 0 | 0 | 0 | 0 | 0 | 0
91 | 0 | 251.1479 | 588.7532 | 0 | 0 | 0 | 0 | 1898.6076 | 0 | 0
92 | 0 | 115.7638 | 433.11 | 0 | 0 | 0 | 673.3709 | 729.4794 | 0 | 0
93 | 259.0273 | 0 | 433.11 | 0 | 0 | 0 | 1341.6242 | 1291.5169 | 0 | 0
94 | 0 | 1263.2834 | 0 | 0 | 0 | 0 | 932.2723 | 0 | 0 | 0
95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
96 | 0 | 0 | 0 | 2479.9452 | 2728.6022 | 0 | 0 | 0 | 0 | 0

## E
Time | Cross-district multi-energy flow in 2nd stage for case 5 (unit: kW)
| Ditrict A→District C |  |  | Ditrict C→Ditrict A |  |  | Ditrict B→Ditrict C |  | Ditrict C→Ditrict B
| electicity | heat | cooling | electricity | heat | cooling | heat | cooling | heat | cooling
1 | 0 | 0 | 0 | 0 | 690.2017 | 0 | 1879.5501 | 1211.17 | 0 | 0
2 | 0 | 0 | 0 | 0 | 707.8992 | 0 | 1900.3706 | 1116.2874 | 0 | 0
3 | 0 | 0 | 0 | 0 | 796.3866 | 0 | 2004.4735 | 843.8019 | 0 | 0
4 | 0 | 0 | 0 | 0 | 707.8992 | 0 | 1900.3706 | 1038.6232 | 0 | 0
5 | 0 | 0 | 0 | 0 | 707.8992 | 0 | 1900.3706 | 1007.5575 | 0 | 0
6 | 1361.0052 | 1486.4643 | 1712.9758 | 0 | 0 | 0 | 0 | 0 | 842.716 | 0
7 | 0 | 0 | 0 | 0 | 752.1429 | 0 | 0 | 282.4887 | 909.9265 | 0
8 | 0 | 0 | 0 | 0 | 796.3866 | 0 | 0 | 3419.5162 | 0 | 0
9 | 4237.2676 | 3316.0943 | 2366.0898 | 0 | 0 | 0 | 0 | 0 | 909.9265 | 0
10 | 3632.6751 | 3095.9193 | 2073.121 | 0 | 0 | 0 | 0 | 164.542 | 896.4844 | 0
11 | 4090.6188 | 4435.7361 | 398.435 | 0 | 0 | 0 | 0 | 2734.2408 | 936.8107 | 0
12 | 1652.7301 | 3058.3122 | 341.2649 | 0 | 0 | 0 | 108.5787 | 1884.7783 | 0 | 0
13 | 4236.0448 | 2975.5764 | 1043.3913 | 0 | 0 | 0 | 120.0045 | 1276.72 | 0 | 0
14 | 1915.757 | 0 | 404.3505 | 0 | 769.8403 | 0 | 0 | 1070.2928 | 898.138 | 0
15 | 2599.1754 | 0 | 880.787 | 0 | 760.9916 | 0 | 0 | 977.718 | 923.3686 | 0
16 | 4401.9404 | 2857.9945 | 391.2238 | 0 | 0 | 0 | 0 | 4181.8906 | 0 | 0
17 | 0 | 0 | 0 | 0 | 840.6303 | 0 | 0 | 2386.4727 | 269.497 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 38.0346 | 3545.5751 | 0 | 0
19 | 0 | 0 | 0 | 362.6046 | 1106.0924 | 0 | 0 | 0 | 1582.0312 | 0
20 | 1348.0096 | 0 | 0 | 0 | 1150.3361 | 0 | 0 | 2174.7021 | 325.6491 | 0
21 | 0 | 0 | 0 | 2350.3988 | 1513.1345 | 0 | 0 | 1624.6188 | 0 | 0
22 | 0 | 0 | 0 | 5000 | 0 | 0 | 3838.1557 | 0 | 0 | 0
23 | 0 | 0 | 0 | 4599.9878 | 1106.0924 | 0 | 3917.5431 | 0 | 0 | 0
24 | 0 | 0 | 0 | 4680.5711 | 707.8992 | 0 | 0 | 0 | 206.1938 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 5228.5854 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 5228.5854 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 5228.5854 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 5228.5854 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 5228.5854 | 0 | 0 | 0
30 | 626.751 | 3690.1122 | 952.1689 | 0 | 0 | 0 | 870.5904 | 2905.0773 | 0 | 0
31 | 273.4991 | 3652.505 | 809.8565 | 0 | 0 | 0 | 813.4615 | 2837.6963 | 0 | 0
32 | 546.3458 | 3614.8979 | 0 | 0 | 0 | 0 | 472.6523 | 905.408 | 0 | 0
33 | 1363.0517 | 3652.505 | 0 | 0 | 0 | 0 | 813.4615 | 0 | 0 | 0
34 | 838.7008 | 3660.0264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | 0 | 2732.7086 | 0 | 2621.6995 | 0 | 0 | 0 | 0 | 0 | 510.0308
36 | 0 | 0 | 0 | 2273.6934 | 0 | 0 | 767.7584 | 1030.7284 | 0 | 0
37 | 0 | 214.527 | 0 | 1248.2938 | 0 | 0 | 2298.2998 | 3361.0755 | 0 | 0
38 | 0 | 2432.7253 | 3937.4204 | 0 | 0 | 0 | 2031.4324 | 1586.2946 | 0 | 0
39 | 0 | 2440.2467 | 0 | 5000 | 0 | 0 | 2776.8864 | 1358.063 | 0 | 0
40 | 0 | 2440.2467 | 3334.777 | 0 | 0 | 0 | 2871.5444 | 1984.347 | 0 | 0
41 | 0 | 0 | 1352.4951 | 0 | 0 | 0 | 3012.7037 | 2868.3066 | 0 | 0
42 | 0 | 2222.1253 | 4290.3687 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | 0 | 1921.1868 | 4679.8069 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | 0 | 0 | 981.7906 | 0 | 663.6555 | 0 | 1738.2949 | 5000 | 0 | 0
45 | 0 | 180.1883 | 0 | 4360.9993 | 0 | 0 | 0 | 3996.6199 | 0 | 0
46 | 0 | 0 | 0 | 5000 | 0 | 0 | 0 | 3917.6978 | 0 | 0
47 | 0 | 0 | 309.2697 | 5000 | 0 | 0 | 4700.1636 | 0 | 0 | 1805.3225
48 | 0 | 0 | 0 | 5000 | 0 | 0 | 5228.5854 | 0 | 0 | 0
49 | 38.8446 | 0 | 0 | 0 | 444.2067 | 635.3396 | 304.3733 | 2433.0419 | 0 | 0
50 | 0 | 0 | 0 | 0 | 725.5966 | 671.8875 | 635.4202 | 2521.7243 | 0 | 0
51 | 0 | 0 | 0 | 0 | 814.084 | 451.4179 | 739.5231 | 2308.0332 | 0 | 0
52 | 0 | 0 | 0 | 0 | 814.084 | 596.2618 | 739.5231 | 2377.9311 | 0 | 0
53 | 0 | 0 | 0 | 0 | 805.2353 | 611.5402 | 729.1128 | 2359.3577 | 0 | 0
54 | 1477.0031 | 2900.3622 | 1655.1154 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | 0 | 0 | 0 | 0 | 898.1471 | 0 | 0 | 467.332 | 122.581 | 0
56 | 0 | 0 | 256.8198 | 0 | 613.9617 | 0 | 0 | 3225.7018 | 0 | 0
57 | 3565.5771 | 5000 | 183.9787 | 0 | 0 | 0 | 0 | 1874.767 | 0 | 0
58 | 3459.4885 | 4723.53 | 497.1915 | 0 | 0 | 0 | 0 | 1883.6068 | 896.4844 | 0
59 | 2728.7671 | 3381.087 | 979.8817 | 0 | 0 | 0 | 0 | 2005.7558 | 0 | 0
60 | 0 | 0 | 0 | 230.5724 | 620.2966 | 0 | 0 | 995.001 | 75.0183 | 0
61 | 0 | 0 | 0 | 0 | 725.5966 | 0 | 0 | 1929.983 | 51.0716 | 0
62 | 0 | 0 | 0 | 330.3165 | 524.7303 | 0 | 0 | 1577.9207 | 333.2912 | 0
63 | 0 | 0 | 0 | 0 | 676.0437 | 0 | 0 | 1667.5689 | 0 | 0
64 | 926.454 | 3010.175 | 601.589 | 0 | 0 | 0 | 0 | 1479.5269 | 0 | 0
65 | 2223.9458 | 3084.6372 | 4417.4173 | 0 | 0 | 0 | 2400.7383 | 562.5908 | 0 | 0
66 | 0 | 1931.3238 | 0 | 0 | 0 | 0 | 0 | 1588.6473 | 221.7549 | 0
67 | 0 | 2731.13 | 0 | 0 | 0 | 0 | 0 | 2103.8637 | 0 | 0
68 | 0 | 2622.0693 | 0 | 0 | 0 | 0 | 0 | 2274.0717 | 0 | 0
69 | 0 | 2314.4429 | 0 | 0 | 0 | 0 | 0 | 2257.0385 | 0 | 0
70 | 0 | 0 | 0 | 0 | 0 | 0 | 3838.1557 | 0 | 0 | 0
71 | 0 | 0 | 0 | 0 | 0 | 0 | 4055.2455 | 0 | 0 | 0
72 | 1180.24 | 0 | 0 | 0 | 504.3782 | 69.1016 | 375.1632 | 3129.0708 | 0 | 0
73 | 0 | 0 | 1715.8597 | 5000 | 449.5709 | 0 | 2051.3393 | 0 | 0 | 0
74 | 0 | 0 | 379.745 | 5000 | 0 | 0 | 1682.1987 | 0 | 0 | 0
75 | 0 | 0 | 250.6109 | 5000 | 0 | 0 | 1682.1987 | 0 | 0 | 0
76 | 0 | 0 | 226.6387 | 4634.05 | 0 | 0 | 1726.144 | 0 | 0 | 0
77 | 0 | 0 | 3770.5274 | 0 | 0 | 0 | 1594.308 | 0 | 0 | 0
78 | 0 | 0 | 0 | 0 | 2843.4849 | 0 | 1742.035 | 0 | 0 | 0
79 | 202.8997 | 0 | 1725.8676 | 0 | 1916.0149 | 0 | 2009.556 | 0 | 0 | 170.597
80 | 839.563 | 1.4097e-11 | 4153.537 | 0 | 0 | 0 | 617.8602 | 0 | 0 | 2951.7702
81 | 0 | 0 | 0 | 0 | 3362.521 | 893.7535 | 1102.0692 | 0 | 0 | 3114.0242
82 | 0 | 0 | 0 | 1099.3845 | 3008.5714 | 1490.5137 | 579.5947 | 0 | 0 | 3036.5913
83 | 0 | 0 | 0 | 0 | 2920.084 | 686.5101 | 689.4472 | 0 | 0 | 2444.0207
84 | 0 | 0 | 0 | 0 | 3008.5714 | 550.7829 | 1084.4373 | 0 | 0 | 1133.8443
85 | 0 | 0 | 0 | 2682.5621 | 3052.8151 | 2763.5322 | 1304.7696 | 0 | 0 | 1274.041
86 | 0 | 0 | 0 | 451.2235 | 2522.6455 | 0 | 849.3214 | 0 | 0 | 0
87 | 0 | 0 | 423.21 | 719.8046 | 0 | 0 | 0 | 0 | 1018.9758 | 0
88 | 209.3868 | 719.1479 | 467.211 | 0 | 0 | 0 | 0 | 1271.0092 | 0 | 0
89 | 1394.3847 | 0 | 1388.5793 | 0 | 0 | 0 | 0 | 322.2301 | 0 | 0
90 | 0 | 0 | 383.616 | 0 | 0 | 0 | 0 | 466.9871 | 0 | 0
91 | 0 | 0 | 591.305 | 0 | 0 | 0 | 0 | 637.4567 | 0 | 0
92 | 0 | 0 | 297.1819 | 0 | 0 | 0 | 0 | 2283.4738 | 0 | 0
93 | 27.2942 | 0 | 0 | 0 | 66.3428 | 0 | 0 | 2636.6996 | 1271.4991 | 0
94 | 0 | 2315.7193 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
95 | 0 | 2541.3622 | 0 | 0 | 0 | 0 | 0 | 0 | 1223.6872 | 0
96 | 0 | 0 | 3967.4947 | 0 | 858.5845 | 0 | 0 | 0 | 0 | 2114.8018

## F
Time | Cross-district multi-energy flow in 3rd stage for case 5 (unit: kW)
| Ditrict A→District C |  |  | Ditrict C→Ditrict A |  |  | Ditrict B→Ditrict C |  | Ditrict C→Ditrict B
| electicity | heat | cooling | electricity | heat | cooling | heat | cooling | heat | cooling
1 | 0 | 0 | 0 | 0 | 766.8908 | 0 | 2779.332 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 786.5546 | 0 | 2802.466 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 884.8739 | 0 | 2918.1358 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 786.5546 | 0 | 2802.466 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 786.5546 | 0 | 2802.466 | 0 | 0 | 0
6 | 1913.2238 | 2686.1319 | 1687.9722 | 0 | 0 | 0 | 0 | 0 | 936.3511 | 452.2269
7 | 0 | 0 | 0 | 0 | 835.7143 | 0 | 0 | 2501.232 | 447.2514 | 0
8 | 0 | 0 | 0 | 0 | 884.8739 | 0 | 0 | 2370.7116 | 10.6952 | 0
9 | 2126.5839 | 2105.578 | 623.3533 | 0 | 0 | 0 | 0 | 2005.6342 | 1011.0294 | 0
10 | 2766.5331 | 1996.8545 | 1107.8459 | 0 | 0 | 0 | 0 | 1471.7781 | 996.0938 | 0
11 | 2906.1035 | 2323.025 | 1402.2607 | 0 | 0 | 0 | 0 | 2154.3593 | 1040.9007 | 0
12 | 0 | 2983.9336 | 0 | 0 | 0 | 0 | 17.563 | 1246.5254 | 0 | 0
13 | 2936.3944 | 2431.7485 | 11.824 | 0 | 0 | 0 | 0 | 1370.6813 | 1055.8364 | 0
14 | 4311.9866 | 2323.025 | 686.9913 | 0 | 0 | 0 | 4.2064e-12 | 882.7403 | 1040.9007 | 0
15 | 4292.1278 | 2214.3015 | 686.9913 | 0 | 0 | 0 | 0 | 701.5236 | 1025.9651 | 0
16 | 2714.4048 | 2841.8622 | 0 | 0 | 0 | 0 | 0 | 2359.5355 | 0 | 0
17 | 2193.7502 | 0 | 0 | 0 | 934.0336 | 0 | 1385.3697 | 649.7562 | 0 | 0
18 | 972.351 | 1171.8144 | 0 | 0 | 0 | 0 | 0 | 1286.458 | 0 | 0
19 | 0 | 0 | 0 | 0 | 1228.9916 | 0 | 0 | 1139.9192 | 0 | 0
20 | 412.0211 | 0 | 0 | 0 | 1278.1513 | 0 | 0 | 1660.7233 | 0 | 0
21 | 0 | 0 | 935.7696 | 0 | 680.2521 | 0 | 0 | 1935.7365 | 0 | 0
22 | 0 | 0 | 0 | 5000 | 0 | 0 | 3677.3158 | 0 | 0 | 0
23 | 0 | 0 | 0 | 4703.1999 | 272.5359 | 0 | 3918.5268 | 0 | 0 | 0
24 | 0 | 0 | 0 | 4777.0533 | 786.5546 | 0 | 421.4086 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 5222.2377 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 5222.2377 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 5222.2377 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 5222.2377 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 5222.2377 | 0 | 0 | 0
30 | 0 | 3685.9336 | 225.2646 | 0 | 0 | 0 | 864.2427 | 2940.5665 | 0 | 0
31 | 0 | 3644.1479 | 678.0821 | 0 | 0 | 0 | 800.7662 | 1814.6586 | 0 | 0
32 | 0 | 3602.3622 | 0 | 0 | 0 | 0 | 737.2896 | 0 | 0 | 0
33 | 584.1605 | 3644.1479 | 0 | 0 | 0 | 0 | 800.7662 | 0 | 0 | 0
34 | 446.8193 | 3652.505 | 0 | 0 | 0 | 0 | 813.4615 | 0 | 0 | 0
35 | 0 | 3627.4336 | 0 | 1338.1 | 0 | 0 | 775.3755 | 163.1871 | 0 | 0
36 | 0 | 3610.7193 | 1586.31 | 0 | 0 | 0 | 749.9849 | 141.73 | 0 | 0
37 | 0 | 3619.0764 | 355.5309 | 1463.8071 | 0 | 0 | 762.6802 | 2270.6999 | 0 | 0
38 | 0 | 2862.3631 | 3361.9155 | 0 | 0 | 0 | 3403.5055 | 627.3145 | 0 | 0
39 | 0 | 2431.0539 | 3699.7484 | 0 | 0 | 0 | 3101.5709 | 949.649 | 0 | 0
40 | 0 | 2431.0539 | 640.9143 | 2792.9574 | 0 | 0 | 1129.9285 | 1440.6203 | 0 | 0
41 | 0 | 2355.8396 | 3414.2953 | 0 | 0 | 0 | 2800.2042 | 2152.6342 | 0 | 0
42 | 0 | 2030.5242 | 3509.719 | 0 | 0 | 0 | 478.7028 | 2768.2848 | 0 | 0
43 | 0 | 0 | 736.142 | 0 | 386.8873 | 0 | 2479.5005 | 4959.2704 | 0 | 0
44 | 0 | 1233.5114 | 0 | 5000 | 0 | 0 | 0 | 2454.6277 | 0 | 0
45 | 0 | 957.5238 | 637.9032 | 5000 | 0 | 0 | 0 | 3028.9976 | 0 | 0
46 | 0 | 0 | 1689.619 | 5000 | 0 | 0 | 0 | 2473.8235 | 0 | 0
47 | 0 | 4.4826e-06 | 245.1085 | 5000 | 0 | 0 | 4580.0799 | 0 | 0 | 2040.8131
48 | 0 | 0 | 0 | 5000 | 0 | 0 | 5222.2377 | 0 | 0 | 0
49 | 0 | 0 | 0 | 0 | 493.563 | 0 | 1029.1356 | 1852.4106 | 0 | 0
50 | 0 | 0 | 0 | 0 | 806.2185 | 0 | 1396.9655 | 0 | 0 | 0
51 | 0 | 0 | 0 | 0 | 904.5378 | 0 | 1512.6353 | 858.0015 | 0 | 0
52 | 0 | 0 | 0 | 0 | 904.5378 | 0 | 1512.6353 | 1108.253 | 0 | 0
53 | 0 | 0 | 0 | 0 | 894.7059 | 0 | 1501.0683 | 1087.6159 | 0 | 0
54 | 0 | 0 | 0 | 0 | 860.8028 | 1070.5745 | 0 | 3233.8908 | 0 | 0
55 | 0 | 2879.4693 | 696.5959 | 0 | 0 | 0 | 0 | 0 | 1011.0294 | 0
56 | 0 | 0 | 37.8649 | 0 | 0 | 0 | 50.7324 | 3518.8878 | 0 | 0
57 | 2127.7102 | 3133.9611 | 0 | 0 | 0 | 0 | 0 | 2804.0026 | 1011.0294 | 0
58 | 2568.8799 | 3010.0455 | 528.7174 | 0 | 0 | 0 | 0 | 2198.5983 | 996.0938 | 0
59 | 1716.2613 | 3115.1407 | 424.602 | 0 | 0 | 0 | 0 | 2463.4812 | 1040.9007 | 0
60 | 0 | 0 | 0 | 0 | 689.2185 | 0 | 0 | 1074.7598 | 0 | 0
61 | 0 | 980.756 | 0 | 0 | 0 | 0 | 0 | 0 | 559.36 | 0
62 | 242.1707 | 0 | 0 | 0 | 583.0336 | 0 | 0 | 3328.1219 | 0 | 0
63 | 286.6212 | 0 | 0 | 0 | 751.1597 | 0 | 0 | 2872.4239 | 0 | 0
64 | 3264.2157 | 2930.4479 | 0 | 0 | 0 | 0 | 55.649 | 3695.5613 | 0 | 0
65 | 1505.6602 | 951.506 | 0 | 0 | 0 | 0 | 0 | 0 | 313.6949 | 0
66 | 0 | 3013.1836 | 0 | 0 | 0 | 0 | 0 | 963.5514 | 258.2702 | 0
67 | 0 | 2620.3979 | 0 | 0 | 0 | 0 | 0 | 617.6706 | 0 | 0
68 | 108.0633 | 2499.2193 | 0 | 0 | 0 | 0 | 139.1782 | 1359.0331 | 0 | 0
69 | 1269.149 | 2157.4122 | 0 | 0 | 0 | 0 | 0 | 1037.6562 | 0 | 0
70 | 0 | 0 | 0 | 0 | 0 | 0 | 3677.3158 | 0 | 0 | 0
71 | 0 | 0 | 0 | 0 | 0 | 0 | 3918.5268 | 0 | 0 | 0
72 | 402.3224 | 0 | 0 | 0 | 0 | 0 | 448.4732 | 1875.1583 | 0 | 0
73 | 0 | 454.6131 | 1702.599 | 4764.0409 | 0 | 0 | 1691.9643 | 0 | 0 | 0
74 | 0 | 0 | 5000 | 0 | 0 | 0 | 1281.808 | 0 | 0 | 0
75 | 64.0388 | 0 | 5000 | 0 | 0 | 0 | 1281.808 | 0 | 0 | 0
76 | 0 | 788.8988 | 5000 | 0 | 0 | 0 | 1330.6362 | 0 | 0 | 360.6271
77 | 0 | 0 | 4427.8249 | 0 | 0 | 0 | 1184.1518 | 0 | 0 | 903.9229
78 | 508.6544 | 0 | 2614.4587 | 0 | 1248.0113 | 0 | 2039.3641 | 0 | 0 | 901.5358
79 | 585.7464 | 0 | 0 | 0 | 3951.1535 | 0 | 1010.717 | 0 | 0 | 0
80 | 395.2024 | 0 | 0 | 0 | 3932.7731 | 150.439 | 1947.3589 | 999.2134 | 0 | 0
81 | 0 | 0 | 0 | 0 | 2773.177 | 0 | 1050.5751 | 0 | 0 | 0
82 | 0 | 0 | 459.8381 | 417.4007 | 0 | 0 | 0 | 0 | 0 | 0
83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
84 | 0 | 0 | 0 | 1660.4436 | 0 | 0 | 0 | 0 | 0 | 0
85 | 0 | 0 | 0 | 588.9024 | 2869.3208 | 0 | 2379.0472 | 0 | 0 | 0
86 | 0 | 0 | 413.31 | 519.1434 | 0 | 0 | 0 | 0 | 0 | 0
87 | 116.3655 | 32.8737 | 1051.6988 | 0 | 0 | 0 | 372.4494 | 910.1125 | 0 | 0
88 | 1567.7536 | 1060.1418 | 818.7506 | 0 | 0 | 0 | 0 | 452.3497 | 0 | 0
89 | 0 | 0 | 273.4303 | 0 | 0 | 0 | 1293.8652 | 2552.4239 | 0 | 0
90 | 0 | 0 | 96.7181 | 0 | 0 | 0 | 125.2481 | 1854.941 | 0 | 0
91 | 0 | 0 | 0 | 0 | 0 | 0 | 125.2481 | 1012.3634 | 0 | 0
92 | 0 | 0 | 0 | 0 | 239.4435 | 0 | 0 | 2311.9846 | 0 | 0
93 | 27.2942 | 0 | 0 | 0 | 616.805 | 0 | 0 | 2823.9775 | 0 | 0
94 | 0 | 1235.633 | 0 | 0 | 0 | 0 | 3063.4336 | 0 | 0 | 0
95 | 0 | 1915.0877 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
96 | 0 | 0 | 2477.3192 | 884.1759 | 2064.3026 | 0 | 0 | 0 | 0 | 1956.9497

## G
Time | Sentsive-workload of each data center in 1st stage(unit: requests/s) |  |  | Processed workload in each data center in 1st stage (unit: requests/s)
| Ditrict A | Ditrict B | Ditrict C | Ditrict A | Ditrict B | Ditrict C
1 | 29800 | 14191 | 106429 | 31877 | 118543 | 118543
2 | 39508 | 17177 | 133124 | 31275 | 158534 | 158534
3 | 34016 | 13363 | 97188 | 12889 | 131678 | 131678
4 | 57817 | 21931 | 148531 | 0 | 228279 | 228279
5 | 50406 | 19512 | 117886 | 0 | 187804 | 187804
6 | 60090 | 19260 | 123262 | 77647 | 124965 | 124965
7 | 77588 | 23457 | 153371 | 0 | 254416 | 254416
8 | 88394 | 23902 | 162356 | 4743 | 269909 | 269909
9 | 56099 | 28434 | 146012 | 0 | 160805 | 160805
10 | 62942 | 39456 | 187887 | 31183 | 259102 | 259102
11 | 63485 | 38937 | 156595 | 41547 | 217470 | 217470
12 | 74192 | 46018 | 150262 | 8682 | 261790 | 261790
13 | 61666 | 44166 | 141666 | 38195 | 209303 | 209303
14 | 53532 | 45774 | 135770 | 0 | 191697 | 191697
15 | 61272 | 64336 | 179731 | 0 | 219357 | 219357
16 | 38551 | 54673 | 121261 | 0 | 214485 | 214485
17 | 61606 | 73927 | 149614 | 0 | 135533 | 135533
18 | 88688 | 126698 | 184768 | 51622 | 203301 | 203301
19 | 73276 | 104680 | 119634 | 192910 | 104680 | 104680
20 | 92429 | 140844 | 132041 | 0 | 178848 | 178848
21 | 87404 | 126063 | 117659 | 0 | 4864 | 4864
22 | 58964 | 75595 | 117172 | 129038 | 122693 | 122693
23 | 51971 | 47973 | 127928 | 179899 | 47973 | 47973
24 | 46542 | 35126 | 130843 | 177385 | 35126 | 35126

## H
Time | Sentsive-workload of each data center in 2nd stage (unit: requests/s) |  |  | Processed workload in each data center in 2nd stage(unit: requests/s)
| Ditrict A | Ditrict B | Ditrict C | Ditrict A | Ditrict B | Ditrict C
1 | 33525 | 15964 | 119732 | 0 | 169221 | 169221
2 | 44446 | 19324 | 149764 | 16781 | 196753 | 196753
3 | 38268 | 15034 | 109336 | 0 | 162638 | 162638
4 | 65045 | 24672 | 167097 | 0 | 256814 | 256814
5 | 56707 | 21951 | 132622 | 56416 | 154864 | 154864
6 | 67602 | 21667 | 138670 | 136333 | 91606 | 91606
7 | 87286 | 26389 | 172542 | 0 | 286217 | 286217
8 | 99443 | 26890 | 182651 | 5875 | 303109 | 303109
9 | 63112 | 31988 | 164263 | 182618 | 76745 | 76745
10 | 70810 | 44388 | 211373 | 29554 | 285611 | 285611
11 | 71420 | 43804 | 176170 | 55593 | 208391 | 208391
12 | 83466 | 51770 | 169045 | 0 | 278229 | 278229
13 | 69374 | 49687 | 159374 | 11660 | 228684 | 228684
14 | 60224 | 51496 | 152741 | 0 | 155295 | 155295
15 | 68931 | 72378 | 202198 | 26981 | 188725 | 188725
16 | 43370 | 61507 | 136419 | 0 | 218965 | 218965
17 | 69306 | 83168 | 168315 | 0 | 152474 | 152474
18 | 99774 | 142535 | 207863 | 140572 | 187464 | 187464
19 | 82436 | 117765 | 134589 | 82436 | 117765 | 117765
20 | 103983 | 158450 | 148547 | 0 | 119168 | 119168
21 | 98329 | 141821 | 132366 | 132762 | 42121 | 42121
22 | 66335 | 85044 | 131819 | 66335 | 85044 | 85044
23 | 58467 | 53970 | 143919 | 58467 | 53970 | 53970
24 | 52359 | 39516 | 147199 | 52359 | 39516 | 39516

## I
Time | Sentsive-workload of each data center in 3rd stage(unit: requests/s) |  |  | Processed workload in each data center in 3rd stage(unit: requests/s)
| Ditrict A | Ditrict B | Ditrict C | Ditrict A | Ditrict B | Ditrict C
1 | 37250 | 17738 | 133036 | 0 | 188024 | 0
2 | 49385 | 21472 | 166405 | 2286 | 234976 | 0
3 | 42520 | 16704 | 121485 | 0 | 180709 | 0
4 | 72272 | 27413 | 185664 | 0 | 285349 | 0
5 | 63008 | 24390 | 147357 | 0 | 234755 | 0
6 | 75113 | 24075 | 154078 | 0 | 253266 | 0
7 | 96985 | 29321 | 191714 | 11307 | 306713 | 0
8 | 110492 | 29878 | 202945 | 83928 | 259387 | 0
9 | 70124 | 35542 | 182514 | 242121 | 46059 | 0
10 | 78678 | 49320 | 234859 | 7111 | 280679 | 75067
11 | 79356 | 48672 | 195744 | 56885 | 222889 | 43998
12 | 92740 | 57522 | 187828 | 0 | 237437 | 100653
13 | 77083 | 55208 | 177082 | 29898 | 144256 | 135219
14 | 66915 | 57217 | 169712 | 171108 | 117326 | 5409
15 | 76590 | 80420 | 224664 | 138816 | 242858 | 0
16 | 48189 | 68341 | 151576 | 32206 | 235900 | 0
17 | 77007 | 92408 | 187017 | 0 | 223967 | 132465
18 | 110861 | 158372 | 230959 | 219138 | 171627 | 109427
19 | 91595 | 130850 | 149543 | 91595 | 130850 | 149543
20 | 115536 | 176055 | 165052 | 193472 | 92348 | 170823
21 | 109255 | 157579 | 147074 | 58563 | 172420 | 182925
22 | 73705 | 94494 | 146465 | 0 | 168199 | 146465
23 | 64963 | 59966 | 159910 | 224873 | 59966 | 0
24 | 58177 | 43907 | 163554 | 58177 | 43907 | 163554

## J
Time | Delay-tolerant workload before temporal shifting of district B in 1st stage(unit: requests/s) | Delay-tolerant workload after temporal shiftingof district B in 1st stage(unit: requests/s)
1 | 14191 | 0
2 | 17177 | 31368
3 | 13363 | 13363
4 | 21931 | 0
5 | 19512 | 41443
6 | 19260 | 19260
7 | 23457 | 0
8 | 23902 | 47359
9 | 28434 | 0
10 | 39456 | 0
11 | 38937 | 0
12 | 46018 | 47011
13 | 44166 | 0
14 | 45774 | 60101
15 | 64336 | 50009
16 | 54673 | 54673
17 | 73927 | 223927
18 | 126698 | 0
19 | 104680 | 231378
20 | 140844 | 9355
21 | 126063 | 107552
22 | 75595 | 75595
23 | 47973 | 197973
24 | 35126 | 0

## K
Time | Delay-tolerant workload before temporal shifting of district B in 2nd stage(unit: requests/s) | Delay-tolerant workload after temporal shiftingof district B in 2nd stage(unit: requests/s)
1 | 15964 | 0
2 | 19324 | 35288
3 | 15034 | 0
4 | 24672 | 0
5 | 21951 | 61657
6 | 21667 | 0
7 | 26389 | 48056
8 | 26890 | 26890
9 | 31988 | 0
10 | 44388 | 0
11 | 43804 | 0
12 | 51770 | 71637
13 | 49687 | 0
14 | 51496 | 51496
15 | 72378 | 72378
16 | 61507 | 128440
17 | 83168 | 158770
18 | 142535 | 0
19 | 117765 | 267765
20 | 158450 | 158450
21 | 141821 | 0
22 | 85044 | 226865
23 | 53970 | 53970
24 | 39516 | 0

## L
Time | Delay-tolerant workload before temporal shifting of district B in 3rd stage(unit: requests/s) | Delay-tolerant workload after temporal shiftingof district B in 3rd stage(unit: requests/s)
1 | 17738 | 0
2 | 21472 | 16600
3 | 16704 | 0
4 | 27413 | 0
5 | 24390 | 91117
6 | 24075 | 0
7 | 29321 | 5091
8 | 29878 | 78183
9 | 35542 | 0
10 | 49320 | 0
11 | 48672 | 0
12 | 57522 | 96264
13 | 55208 | 0
14 | 57217 | 57217
15 | 80420 | 90452
16 | 68341 | 63126
17 | 92408 | 237591
18 | 158372 | 8372
19 | 130850 | 280850
20 | 176055 | 176055
21 | 157579 | 7579
22 | 94494 | 244494
23 | 59966 | 59966
24 | 43907 | 0

## M
Time | Electricity consumption comparison of the data center in District C in 1st stage ( unit: kW)
| case 1 | case 2 | case 3 | case 4 | case 5
1 | 2761.408 | 2761.408 | 1380.7098 | 2761.408 | 1380.7098
2 | 2853.4545 | 2853.4545 | 1426.7331 | 2853.4545 | 1426.7331
3 | 2945.5011 | 2945.5011 | 1472.7563 | 2766.0946 | 1472.7563
4 | 2742.9987 | 2742.9987 | 1371.5051 | 2922.4051 | 1371.5051
5 | 2669.3614 | 2669.3614 | 1334.6865 | 2669.3614 | 1334.6865
6 | 2945.5011 | 2945.5011 | 1472.7563 | 2114.6849 | 1472.7563
7 | 3129.5942 | 3129.5942 | 1564.8029 | 3477.1777 | 1564.8029
8 | 3313.6873 | 3313.6873 | 1656.8494 | 3796.92 | 1656.8494
9 | 3497.7803 | 3497.7803 | 1748.896 | 3299.9303 | 1473.7471
10 | 3681.8734 | 3681.8734 | 1840.9425 | 2969.7856 | 390.2186
11 | 3405.7338 | 3405.7338 | 1702.8727 | 2589.7989 | 1702.8727
12 | 2945.5011 | 2945.5011 | 1472.7563 | 3521.1748 | 1472.7563
13 | 3129.5942 | 3129.5942 | 1564.8029 | 2553.9205 | 1564.8029
14 | 3221.6407 | 3221.6407 | 1610.8262 | 3221.6407 | 1610.8262
15 | 3240.05 | 3240.05 | 1620.0308 | 3525.1104 | 1620.0308
16 | 3184.8221 | 3184.8221 | 1592.4169 | 2899.7617 | 2319.6637
17 | 3129.5942 | 3129.5942 | 1564.8029 | 3321.6042 | 837.5561
18 | 3221.6407 | 3221.6407 | 1610.8262 | 3029.6307 | 1610.8262
19 | 2945.5011 | 2945.5011 | 1560.2804 | 3437.638 | 5520.1256
20 | 3775.4632 | 8525.16 | 2103.9301 | 2631.3612 | 8525.16
21 | 6849.4764 | 7386.2159 | 4802.0856 | 5190.1445 | 7497.394
22 | 7611.3813 | 3440.0623 | 6615.7704 | 6616.0627 | 7530.4658
23 | 7908.2859 | 8525.16 | 7908.2662 | 7908.3002 | 8525.16
24 | 8525.16 | 6632.921 | 8525.16 | 8525.16 | 8277.5358

## N
Time | Electricity consumption comparison of the data center in District C in 2nd stage ( unit: kW)
| case 1 | case 2 | case 3 | case 4 | case 5
1 | 3106.5825 | 3106.5825 | 1553.2971 | 3106.5825 | 1553.2971
2 | 3210.1349 | 3210.1349 | 1605.0733 | 2380.6755 | 1605.0733
3 | 3313.6873 | 3313.6873 | 1656.8494 | 2638.2089 | 1656.8494
4 | 3085.8721 | 3085.8721 | 1542.9418 | 3796.92 | 1542.9418
5 | 3003.0302 | 3003.0302 | 1501.5209 | 3796.92 | 1501.5209
6 | 3313.6873 | 3313.6873 | 1656.8494 | 2968.536 | 1656.8494
7 | 3520.792 | 3520.792 | 1760.4018 | 3796.92 | 34.5291
8 | 3727.8967 | 3727.8967 | 1863.9542 | 3796.92 | 3589.8269
9 | 4056.0578 | 4056.0578 | 1967.5065 | 3765.9381 | 1967.5065
10 | 4444.7318 | 4444.7318 | 2071.0589 | 3796.92 | 837.0269
11 | 3861.7208 | 3861.7208 | 2081.6924 | 3551.8087 | 1423.8897
12 | 3313.6873 | 3313.6873 | 1656.8494 | 3796.92 | 3382.7222
13 | 3520.792 | 3520.792 | 2505.1158 | 1760.4018 | 858.2754
14 | 3624.3443 | 3624.3443 | 1812.178 | 3624.3443 | 988.4316
15 | 3645.0548 | 3645.0548 | 1822.5332 | 3645.0548 | 1822.5332
16 | 3582.9234 | 3582.9234 | 1791.4675 | 3582.9234 | 1791.4675
17 | 3520.792 | 3520.792 | 1760.4018 | 3520.792 | 2099.5969
18 | 3624.3443 | 3624.3443 | 1812.178 | 3624.3443 | 3023.7783
19 | 3313.6873 | 3313.6873 | 1656.8494 | 3313.6873 | 3796.92
20 | 3106.5825 | 6823.065 | 1553.2971 | 3106.5825 | 8525.16
21 | 5072.6298 | 8525.16 | 3932.047 | 8525.16 | 7687.4439
22 | 6358.2548 | 8525.16 | 5273.0754 | 6356.6817 | 6328.7524
23 | 7307.3703 | 8525.16 | 6687.852 | 7386.159 | 7560.0297
24 | 8525.16 | 8525.16 | 8525.16 | 8525.16 | 7191.0531

## O
Time | Electricity consumption comparison of the data center in District C in 3rd stage ( unit: kW)
| case 1 | case 2 | case 3 | case 4 | case 5
1 | 3451.7571 | 3451.7571 | 1725.8843 | 3451.7571 | 1725.8843
2 | 3566.8153 | 3566.8153 | 1783.4134 | 3566.8153 | 57.5407
3 | 3681.8734 | 3681.8734 | 1840.9425 | 2853.4778 | 1840.9425
4 | 3428.7454 | 3428.7454 | 1714.3785 | 3796.92 | 3440.2513
5 | 3336.6989 | 3336.6989 | 1668.3553 | 3796.92 | 1668.3553
6 | 3681.8734 | 3681.8734 | 1840.9425 | 3681.8734 | 992.7051
7 | 4012.8718 | 4012.8718 | 1956.0007 | 4012.8718 | 2517.3688
8 | 4444.7318 | 4444.7318 | 2071.0589 | 4444.7318 | 2369.4457
9 | 4876.5918 | 4876.5918 | 2186.1171 | 3796.92 | 2186.1171
10 | 5308.4518 | 5308.4518 | 2301.1753 | 3796.92 | 1035.8058
11 | 4660.6618 | 4660.6618 | 2244.9763 | 3796.92 | 1668.0847
12 | 3681.8734 | 3681.8734 | 1840.9425 | 3796.92 | 3796.92
13 | 4012.8718 | 4012.8718 | 1956.0007 | 3796.92 | 459.1907
14 | 4228.8018 | 4228.8018 | 2013.5298 | 3796.92 | 1798.9917
15 | 4271.9878 | 4271.9878 | 2025.0356 | 3796.92 | 2010.511
16 | 4142.4298 | 4142.4298 | 1990.5182 | 4056.2323 | 1990.5182
17 | 4012.8718 | 4012.8718 | 1956.0007 | 3796.92 | 1956.0007
18 | 4228.8018 | 4228.8018 | 2013.5298 | 4228.8018 | 2013.5298
19 | 3681.8734 | 3681.8734 | 2201.04 | 3681.8734 | 3160.7134
20 | 3451.7571 | 4096.9334 | 1725.8843 | 3451.7571 | 6766.69
21 | 3221.6407 | 3910.9834 | 3287.1352 | 7238.1262 | 8525.16
22 | 5682.9091 | 8525.16 | 4546.8432 | 5704.2025 | 5733.5382
23 | 6578.7661 | 8525.16 | 5588.8981 | 6600.1843 | 6927.0515
24 | 7323.3324 | 8525.16 | 7992.5323 | 8525.16 | 6584.6376

## P
Confidence | The total cost and the capacity of renewable energy for case 5 under different confidence levels
| Total cost(unit: million yuan) | Capacity of PV (unit: MW) | Capacity of WT(unit: MW)
0.8 | 141.02 | 10.83 | 42.61
0.85 | 141.63 | 11.29 | 41.05
0.9 | 142.06 | 12.13 | 38.98
0.95 | 142.61 | 13.22 | 35.83